Version 1.0

May 2013

Revision History

| Ver. | Date | Description |
| --- | --- | --- |
| 1.0 | May 6, 2013 | First release |

Contents

Introduction	1

Windows server 2012	2

Integrated Hardware RAID	2

BIOS Required	2

Drivers Required	2

Software Required	2

Configuring Integrated Hardware RAID	2

Installation Tips	2

Chipset Driver Package Installation	3

10 Gigabit Ethernet Driver Installation	3

VGA Driver Installation	4

RAID Utility Installation	4

Network Utility Installation	4

Intel Onboard SAS/SATA RSTe RAID	5

BIOS Required	5

Drivers Required	5

Software Required	5

Configuring Intel Onboard SAS/SATA RSTe RAID	5

Installation Tips	5

Chipset Driver Package Installation	6

10 Gigabit Ethernet Driver Installation	6

VGA Driver Installation	7

RAID Utility Installation	7

Network Utility Installation	8

Intel Onboard SAS/SATA ESRTII RAID	8

BIOS Required	8

Drivers Required	8

Software Required	8

Configuring Intel Onboard SAS/SATA ESRTII RAID	8

Installation Tips	8

Chipset Driver Package Installation	9

10 Gigabit Ethernet Driver Installation	9

VGA Driver Installation	10

RAID Utility Installation	10

Network Utility Installation	10

Windows server 2008 R2	11

Integrated Hardware RAID	11

BIOS Required	11

Drivers Required	11

Software Required	11

Configuring Integrated Hardware RAID	11

Installation Tips	11

Chipset Driver Package Installation	12

10 Gigabit Ethernet Driver Installation	12

VGA Driver Installation	13

RAID Utility Installation	13

Network Utility Installation	13

Intel Onboard SAS/SATA RSTe RAID	14

BIOS Required	14

Drivers Required	14

Software Required	14

Configuring Intel Onboard SAS/SATA RSTe RAID	14

Installation Tips	14

Chipset Driver Package Installation	15

10 Gigabit Ethernet Driver Installation	15

VGA Driver Installation	16

RAID Utility Installation	16

Network Utility Installation	17

Intel Onboard SAS/SATA ESRTII RAID	17

BIOS Required	17

Drivers Required	17

Software Required	17

Configuring Intel Onboard SAS/SATA ESRTII RAID	17

Installation Tips	17

Chipset Driver Package Installation	18

10 Gigabit Ethernet Driver Installation	18

VGA Driver Installation	19

RAID Utility Installation	19

Network Utility Installation	19

Windows Server 2008	20

Integrated Hardware RAID	20

BIOS Required	20

Drivers Required (64 bit)	20

Drivers Required (32 bit)	20

Software Required	20

Configuring Integrated Hardware RAID	20

Installation Tips	21

Chipset Driver Package Installation	21

10 Gigabit Ethernet Driver Installation	22

VGA Driver Installation	22

RAID Utility Installation	22

Network Utility Installation	23

Intel Onboard SAS/SATA RSTe RAID	23

BIOS Required	23

Drivers Required (64 bit)	23

Drivers Required (32 bit)	23

Software Required	24

Configuring Intel Onboard SAS/SATA RSTe RAID	24

Installation Tips	24

Chipset Driver Package Installation	25

10 Gigabit Ethernet Driver Installation	25

VGA Driver Installation	25

RAID Utility Installation	26

Network Utility Installation	26

Intel Onboard SAS/SATA ESRTII RAID	26

BIOS Required	26

Drivers Required (64 bit)	26

Drivers Required (32 bit)	27

Software Required	27

Configuring Intel Onboard SAS/SATA ESRTII RAID	27

Installation Tips	27

Chipset Driver Package Installation	28

10 Gigabit Ethernet Driver Installation	28

VGA Driver Installation	28

RAID Utility Installation	29

Network Utility Installation	29

Red Hat Enterprise Linux 6 UPDATE 2	30

Integrated Hardware RAID	30

BIOS Required	30

Drivers Required (64 bit)	30

Drivers Required (32 bit)	30

Software Required	30

Configuring Integrated Hardware RAID	30

Installation Tips	30

10 Gigabit Ethernet Driver Installation	32

VGA Driver Installation	33

RAID Utility Installation	33

Intel Onboard SAS/SATA ESRTII RAID	33

BIOS Required	33

Drivers Required (64 bit)	33

Drivers Required (32 bit)	33

Software Required	34

Configuring Intel Onboard SAS/SATA ESRTII RAID	34

Installation Tips	34

10 Gigabit Ethernet Driver Installation	35

VGA Driver Installation	35

RAID Utility Installation	35

Red Hat Enterprise Linux 5 UPDATE 8	37

Integrated Hardware RAID	37

BIOS Required	37

Drivers Required (64 bit)	37

Drivers Required (32 bit)	37

Software Required	37

Configuring Integrated Hardware RAID	37

Installation Tips	37

10 Gigabit Ethernet Driver Installation	39

VGA Driver Installation	39

RAID Utility Installation	39

Intel Onboard SAS/SATA ESRTII RAID	40

BIOS Required	40

Drivers Required (64 bit)	40

Drivers Required (32 bit)	40

Software Required	40

Configuring Intel Onboard SAS/SATA ESRTII RAID	40

Installation Tips	41

10 Gigabit Ethernet Driver Installation	42

VGA Driver Installation	42

RAID Utility Installation	42

SuSE Linux Enterprise Server 11 SP2	44

Integrated Hardware RAID	44

BIOS Required	44

Drivers Required (64 bit)	44

Drivers Required (32 bit)	44

Software Required	44

Configuring Integrated Hardware RAID	44

Installation Tips	44

10 Gigabit Ethernet Driver Installation	45

VGA Driver Installation	46

RAID Utility Installation	46

Intel Onboard SAS/SATA ESRTII RAID	47

BIOS Required	47

Drivers Required (64 bit)	47

Drivers Required (32 bit)	47

Software Required	47

Configuring Intel Onboard SAS/SATA ESRTII RAID	47

Installation Tips	47

10 Gigabit Ethernet Driver Installation	48

VGA Driver Installation	49

RAID Utility Installation	49

VMware ESXi 5.0 Update 1	50

Integrated Hardware RAID	50

BIOS Required	50

Drivers Required	50

Configuring Integrated Hardware RAID	50

Installation Tips	50

Configure the VMware ESXi 5.0 Update 1 host	51

Downloading the vSphere Client to the PC	51

vSphere Client Installation on the PC	51

Launch vSphere Client on the PC	52

10 Gigabit Ethernet Driver Installation	53

VGA Driver Installation	53

APPENDIX A: Integrated Hardware RAID CONFIGURATION	54

Set RAID Controller in EFI Mode or Legacy Mode	54

Entering RAID BIOS Utility (Legacy Mode)	54

Entering RAID EFI Utility (EFI Mode)	54

Loading Factory Default Setting	55

Creating a RAID Volume	55

Initializing a RAID Volume	56

Assigning a Hot Spare Drive	56

APPENDIX B: Intel onboard SAS/SATA RSTe RAID CONFIGURATION	57

Enabling Intel Onboard SAS/SATA RSTe RAID	57

Entering Intel onboard SAS/SATA RSTe RAID BIOS Utility	57

Loading Factory Default Setting	57

Creating a RAID Volume	57

Initializing a RAID Volume	57

Assigning a Hot Spare Drive	58

APPENDIX C: Intel onboard SAS/SATA ESRTII RAID CONFIGURATION	59

Enabling Intel Onboard SAS/SATA ESRTII RAID	59

Entering Intel onboard SAS/SATA ESRTII RAID BIOS Utility	59

Loading Factory Default Setting	59

Creating a RAID Volume	59

Initializing a RAID Volume	60

Assigning a Hot Spare Drive	60

Saving and Exiting Intel Onboard SAS/SATA ESRTII RAID Configuration Utility	60

# Introduction

The driver required for installing the OS manually is included in Smart Setup Resource Kit, this document provides you a OS installation guide on AR580 F2, including,

Windows Server 2012

Windows Server 2008 R2

Windows Server 2008

Red Hat Enterprise Linux 6 Update 2

Red Hat Enterprise Linux 5 Update 8

SuSE Linux Enterprise Server 11 SP2

VMware ESXi 5.0 Update 1

# Windows server 2012

## Integrated Hardware RAID

Below information describes how to manually install Windows Server 2012 on AR580 F2 with Integrated Hardware RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) can support Windows Server 2012.

### Drivers Required

| Device | Version | Driver Source |
| --- | --- | --- |
| Integrated Hardware RAID | 5.2.133.64 | Smart Setup Resource Kit v2.0 |
| Chipset | Package 9.3.0.1021 | Smart Setup Resource Kit v2.0 |
| Onboard VGA | 4.0.2.4 (WMD20120831.Pilot3) | Smart Setup Resource Kit v2.0 |
| Onboard Gigabit Ethernet | 3.1.65.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel RAID Web Console 2 | 12.05.03.00 | Smart Setup Resource Kit v2.0 |
| PROSet | 17.2.153.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Configuring Integrated Hardware RAID

Please refer to Appendix A. for Integrated Hardware RAID configuration.

### Installation Tips

NOTE. When you install OS with the integrated Hardware RAID, please disable onboard SAS RAID through BIOS Setup (Advanced > Mass Storage Controller Configuration option)

SAS/SATA Capable Controller     [Disabled]

NOTE. Please refer to AR580 F2 FAQ (Frequently Asked Questions) to select OS installation in EFI mode or Legacy mode if the OS media supports EFI.

NOTE. Windows Server 2012 can detect Integrated Hardware RAID. Please still load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Integrated Hardware RAID driver from Smart Setup Resource Kit DVD to a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well if the AR580 F2 has no built-in optical drive installed. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

- Please boot the system with the Windows Server 2012 DVD. Follow the instructions to do the installation.

- When “Where do you want to install Windows” message displayed, please Insert the USB flash which includes the Integrated Hardware RAID driver and click on “Load Driver”.

- Specify the folder that includes the Integrated Hardware RAID driver and the system will show the available driver. Select “megasas2.inf” as target driver.

- After loading the RAID driver, you could click “Drive options” to partition the drive or click “Next” to use default disk partition setting directly.

- Follow the normal procedure to finish the installation.

### Chipset Driver Package Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the Chipset Driver by expanding the directory in the following order, AR580 F2 -> Chipset -> Intel Chipset

- Select Windows Server 2012 64-bit then click on Browse.

- Double-click on Setup.exe and follow the instructions to complete the driver installation.

- After the installation is completed, reboot the system.

### 10 Gigabit Ethernet Driver Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the 10 Gigabit Ethernet Driver by expanding the directory in the following order, AR580 F2 -> Network Adapters -> Intel onboard LAN (Intel Twinville Dual-ports 10 Gb Ethernet controller).

- Select Windows Server 2012 64-bit then click on Browse.

- Double-click on Autorun.exe.

- Follow the instructions, accept the license agreement and use the default setting to complete the driver installation.

- The driver and PROSet utility will be installed together automatically.

### VGA Driver Installation

NOTE. Windows will treat onboard VGA as Standard VGA device. Please install onboard VGA driver from Smart Setup Resource Kit DVD.

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Drivers.

- Find the VGA Driver by expanding the directory in the following order, AR580 F2 -> Graphics Adapters -> Intel Onboard  VGA (Integrated 2D Video Controller ).

- Select Windows Server 2012 64-bit then click on Browse.

- Double-click on Install.bat.

- Accept the license agreement to install the VGA driver.

- After the installation is completed, reboot the system.

After installing the driver, you would see Matrox G200e (ServerEngines) listed in Display adapters.

### RAID Utility Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Utilities.

- Find the Integrated Hardware RAID Utility by expanding the directory in the following order, AR580 F2 -> SAS RAID (Utility) -> Intel Integrated RAID Module RMS25PB080 (LSI2208 ROC) (MSM).

- Select Windows Server 2012 64-bit.

- Double-click on Setup.exe.

- Accept the license and follow the instruction to install the RAID Utility. Reboot the system after the installation completed.

### Network Utility Installation

The PROSet utility for the onboard 10 Gigabit Ethernet controller will be installed automatically when you installing the onboard 10 Gigabit Ethernet Driver.

## Intel Onboard SAS/SATA RSTe RAID

Below information describes how to manually install Windows Server 2012 on AR580 F2 with Intel Onboard SAS/SATA RSTe RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) can support Windows Server 2012.

### Drivers Required

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA RSTe RAID | 3.5.1.1009_2012.10.08 | Smart Setup Resource Kit v2.0 |
| Chipset | Package 9.3.0.1021 | Smart Setup Resource Kit v2.0 |
| Onboard VGA | 4.0.2.4 (WMD20120831.Pilot3) | Smart Setup Resource Kit v2.0 |
| Onboard Gigabit Ethernet | 3.1.65.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA RSTe RAID Utility | 3.5.1.1009_2012.10.08 | Smart Setup Resource Kit v2.0 |
| PROSet | 17.2.153.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Configuring Intel Onboard SAS/SATA RSTe RAID

Please refer to Appendix B. for Intel Onboard SAS/SATA RSTe RAID configuration.

### Installation Tips

NOTE. Please refer to AR580 F2 FAQ (Frequently Asked Questions) to select OS installation in EFI mode or Legacy mode if the OS media supports EFI.

NOTE. Windows Server 2012 cannot detect Intel Onboard SAS/SATA RSTe RAID. Please load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Intel Onboard SAS/SATA RSTe RAID driver from Smart Setup Resource Kit DVD to a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

- Please boot the system from the Windows Server 2012 DVD. Follow the instructions to do the installation.

- When “Where do you want to install Windows” message displayed, please Insert the USB flash which includes the Intel Onboard SAS/SATA RSTe RAID driver and click on “Load Driver”.

- Specify the folder that includes the Intel onboard SAS/SATA RSte RAID driver and the system will show the available driver. Select “Intel(R) C600 Series Chipset SAS RAID Controller (<folder>\iaStorS.inf)” as target driver.

- After loading the RAID driver, you could click “Drive options” to partition the drive or click “Next” to use default disk partition setting directly.

- Follow the normal procedure to finish the installation.

### Chipset Driver Package Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the Chipset Driver by expanding the directory in the following order, AR580 F2 -> Chipset -> Intel Chipset

- Select Windows Server 2012 64-bit then click on Browse.

- Double-click on Setup.exe and follow the instructions to complete the driver installation.

- After the installation is completed, reboot the system.

### 10 Gigabit Ethernet Driver Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the 10 Gigabit Ethernet Driver by expanding the directory in the following order, AR580 F2 -> Network Adapters -> Intel onboard LAN (Intel Twinville Dual-ports 10 Gb Ethernet controller).

- Select Windows Server 2012 64-bit then click on Browse.

- Double-click on Autorun.exe.

- Follow the instructions, accept the license agreement and use the default setting to complete the driver installation.

- The driver and PROSet utility will be installed together automatically.

### VGA Driver Installation

NOTE. Windows will treat onboard VGA as Standard VGA device. Please install onboard VGA driver from Smart Setup Resource Kit DVD.

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Drivers.

- Find the VGA Driver by expanding the directory in the following order, AR580 F2 -> Graphics Adapters -> Intel Onboard  VGA (Integrated 2D Video Controller ).

- Select Windows Server 2012 64-bit then click on Browse.

- Double-click on Install.bat.

- Accept the license agreement to install the VGA driver.

- After the installation is completed, reboot the system.

After installing the driver, you would see Matrox G200e (ServerEngines) listed in Display adapters.

### RAID Utility Installation

Note. Before installing Intel RAID Utility, please enable .NET Framework 3.0 (or later) features.

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Utilities.

- Find the Intel Onboard SAS/SATA RSTe RAID Utility by expanding the directory in the following order, AR580 F2 -> Onboard SATA RAID (Utility) -> Intel RSTe RAID (4 Port SATA).

- Select Windows Server 2012 64-bit.

- Double-click on Setup.exe.

- Accept the license and follow the instruction to install the RAID Utility. Reboot the system after the installation completed.

### Network Utility Installation

The PROSet utility for the onboard Gigabit Ethernet controller will be installed automatically when you installing the onboard Gigabit Ethernet driver.

## Intel Onboard SAS/SATA ESRTII RAID

Below information describes how to manually install Windows Server 2012 on AR580 F2 with Intel Onboard SAS/SATA ESRTII RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) can support Windows Server 2012.

### Drivers Required

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA ESRTII RAID | 15.00.0811.2012 | Smart Setup Resource Kit v2.0 |
| Chipset | Package 9.3.0.1021 | Smart Setup Resource Kit v2.0 |
| Onboard VGA | 4.0.2.4 (WMD20120831.Pilot3) | Smart Setup Resource Kit v2.0 |
| Onboard Gigabit Ethernet | 3.1.65.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel RAID Web Console 2 | 12.05.03.00 | Smart Setup Resource Kit v2.0 |
| PROSet | 17.2.153.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Configuring Intel Onboard SAS/SATA ESRTII RAID

Please refer to Appendix C. for Intel Onboard SAS/SATA ESRTII RAID configuration.

### Installation Tips

NOTE. Windows Server 2012 cannot detect Intel Onboard SAS/SATA ESRTII RAID. Please load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Intel Onboard SAS/SATA ESRTII RAID driver from Smart Setup Resource Kit DVD to a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

- Please boot the system from the Windows Server 2012 DVD. Follow the instructions to do the installation.

- When “Where do you want to install Windows” message displayed, please Insert the USB flash which includes the Intel Onboard SAS/SATA ESRTII RAID driver and click on “Load Driver”.

- Specify the folder that includes the Intel onboard SAS/SATA ESRTII RAID driver and the system will show the available driver. Select “Intel Embedded Server RAID Technology II (<folder>\MegaSR1.inf)” as target driver.

- After loading the RAID driver, you could click “Drive options” to partition the drive or click “Next” to use default disk partition setting directly.

- Follow the normal procedure to finish the installation.

### Chipset Driver Package Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the Chipset Driver by expanding the directory in the following order, AR580 F2 -> Chipset -> Intel Chipset

- Select Windows Server 2012 64-bit then click on Browse.

- Double-click on Setup.exe and follow the instructions to complete the driver installation.

- After the installation is completed, reboot the system.

### 10 Gigabit Ethernet Driver Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the 10 Gigabit Ethernet Driver by expanding the directory in the following order, AR580 F2 -> Network Adapters -> Intel onboard LAN (Intel Twinville Dual-ports 10 Gb Ethernet controller).

- Select Windows Server 2012 64-bit then click on Browse.

- Double-click on Autorun.exe.

- Follow the instructions, accept the license agreement and use the default setting to complete the driver installation.

- The driver and PROSet utility will be installed together automatically.

### VGA Driver Installation

NOTE. Windows will treat onboard VGA as Standard VGA device. Please install onboard VGA driver from Smart Setup Resource Kit DVD.

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Drivers.

- Find the VGA Driver by expanding the directory in the following order, AR580 F2 -> Graphics Adapters -> Intel Onboard  VGA (Integrated 2D Video Controller ).

- Select Windows Server 2012 64-bit then click on Browse.

- Double-click on Install.bat.

- Accept the license agreement to install the VGA driver.

- After the installation is completed, reboot the system.

After installing the driver, you would see Matrox G200e (ServerEngines) listed in Display adapters.

### RAID Utility Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Utilities.

- Find the Intel Onboard SAS/SATA RSTe RAID Utility by expanding the directory in the following order, AR580 F2 -> Onboard SATA RAID (Utility) -> Intel ESRT RAID (4 Port SATA).

- Select Windows Server 2012 64-bit.

- Double-click on Setup.exe.

- Accept the license and follow the instruction to install the RAID Utility. Reboot the system after the installation completed.

### Network Utility Installation

The PROSet utility for the onboard Gigabit Ethernet controller will be installed automatically when you installing the onboard Gigabit Ethernet driver.

# Windows server 2008 R2

## Integrated Hardware RAID

Below information describes how to manually install Windows Server 2008 R2 on AR580 F2 with Integrated Hardware RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) can support Windows Server 2008 R2.

### Drivers Required

| Device | Version | Driver Source |
| --- | --- | --- |
| Integrated Hardware RAID | 5.2.116.64 | Smart Setup Resource Kit v2.0 |
| Chipset | Package 9.3.0.1021 | Smart Setup Resource Kit v2.0 |
| Onboard VGA | 2.2.1.0 | Smart Setup Resource Kit v2.0 |
| Onboard Gigabit Ethernet | 2.11.114.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel RAID Web Console 2 | 12.05.03.00 | Smart Setup Resource Kit v2.0 |
| PROSet | 17.2.154.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Configuring Integrated Hardware RAID

Please refer to Appendix A. for Integrated Hardware RAID configuration.

### Installation Tips

NOTE. When you install OS with the integrated Hardware RAID, please disable onboard SAS RAID through BIOS Setup (Advanced > Mass Storage Controller Configuration option)

SAS/SATA Capable Controller     [Disabled]

NOTE. Please refer to AR580 F2 FAQ (Frequently Asked Questions) to select OS installation in EFI mode or Legacy mode if the OS media supports EFI.

NOTE. Windows Server 2008 R2 cannot detect Integrated Hardware RAID. Please load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Integrated Hardware RAID driver from Smart Setup Resource Kit DVD to a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well if the AR580 F2 has no built-in optical drive installed. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

- Please boot the system with the Windows Server 2008 R2 DVD. Follow the instructions to do the installation.

- When “Where do you want to install Windows” message displayed, please Insert the USB flash which includes the Integrated Hardware RAID driver and click on “Load Driver”.

- Specify the folder that includes the Integrated Hardware RAID driver and the system will show the available driver. Select “megasas2.inf” as target driver.

- After loading the RAID driver, you could click “Drive options” to partition the drive or click “Next” to use default disk partition setting directly.

- Follow the normal procedure to finish the installation.

### Chipset Driver Package Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the Chipset Driver by expanding the directory in the following order, AR580 F2 -> Chipset -> Intel Chipset

- Select Windows Server 2008 R2 SP1 then click on Browse.

- Double-click on Setup.exe and follow the instructions to complete the driver installation.

- After the installation is completed, reboot the system.

### 10 Gigabit Ethernet Driver Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the 10 Gigabit Ethernet Driver by expanding the directory in the following order, AR580 F2 -> Network Adapters -> Intel onboard LAN (Intel Twinville Dual-ports 10 Gb Ethernet controller).

- Select Windows Server 2008 R2 SP1 then click on Browse.

- Double-click on Autorun.exe.

- Follow the instructions, accept the license agreement and use the default setting to complete the driver installation.

- The driver and PROSet utility will be installed together automatically.

### VGA Driver Installation

NOTE. Windows will treat onboard VGA as Standard VGA device. Please install onboard VGA driver from Smart Setup Resource Kit DVD.

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Drivers.

- Find the VGA Driver by expanding the directory in the following order, AR580 F2 -> Graphics Adapters -> Intel Onboard VGA (Integrated 2D Video Controller).

- Select Windows Server 2008 R2 SP1 then click on Browse.

- Double-click on Install.bat.

- Accept the license agreement to install the VGA driver.

- After the installation is completed, reboot the system.

After installing the driver, you would see Matrox G200e (ServerEngines) listed in Display adapters.

### RAID Utility Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Utilities.

- Find the Integrated Hardware RAID Utility by expanding the directory in the following order, AR580 F2 -> SAS RAID (Utility) -> Intel Integrated RAID Module RMS25PB080 (LSI2208 ROC) (MSM).

- Select Windows Server 2008 R2 SP1.

- Double-click on Setup.exe.

- Accept the license and follow the instruction to install the RAID Utility.

- In LDAP configuration step, you can configure the LDAP by desired.

- Reboot the system after the installation completed.

### Network Utility Installation

The PROSet utility for the onboard 10 Gigabit Ethernet controller will be installed automatically when you installing the onboard 10 Gigabit Ethernet Driver.

## Intel Onboard SAS/SATA RSTe RAID

Below information describes how to manually install Windows Server 2008 R2 on AR580 F2 with Intel Onboard SAS/SATA RSTe RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) can support Windows Server 2008 R2.

### Drivers Required

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA RSTe RAID | 3.5.1.1009_2012.10.08 | Smart Setup Resource Kit v2.0 |
| Chipset | Package 9.3.0.1021 | Smart Setup Resource Kit v2.0 |
| Onboard VGA | 2.2.1.0 | Smart Setup Resource Kit v2.0 |
| Onboard Gigabit Ethernet | 2.11.114.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA RSTe RAID Utility | 3.5.1.1009_2012.10.08 | Smart Setup Resource Kit v2.0 |
| PROSet | 17.2.154.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Configuring Intel Onboard SAS/SATA RSTe RAID

Please refer to Appendix B. for Intel Onboard SAS/SATA RSTe RAID configuration.

### Installation Tips

NOTE. Please refer to AR580 F2 FAQ (Frequently Asked Questions) to select OS installation in EFI mode or Legacy mode if the OS media supports EFI.

NOTE. Windows Server 2008 R2 cannot detect Intel Onboard SAS/SATA RSTe RAID. Please load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Intel Onboard SAS/SATA RSTe RAID driver from Smart Setup Resource Kit DVD to a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

- Please boot the system from the Windows Server 2008 R2 DVD. Follow the instructions to do the installation.

- When “Where do you want to install Windows” message displayed, please Insert the USB flash which includes the Intel Onboard SAS/SATA RSTe RAID driver and click on “Load Driver”.

- Specify the folder that includes the Intel onboard SAS/SATA RSte RAID driver and the system will show the available driver. Select “Intel(R) C600 Series Chipset SAS RAID Controller (<folder>\iaStorS.inf)” as target driver.

- After loading the RAID driver, you could click “Drive options” to partition the drive or click “Next” to use default disk partition setting directly.

- Follow the normal procedure to finish the installation.

### Chipset Driver Package Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the Chipset Driver by expanding the directory in the following order, AR580 F2 -> Chipset -> Intel Chipset

- Select Windows Server 2008 R2 SP1 then click on Browse.

- Double-click on Setup.exe and follow the instructions to complete the driver installation.

- After the installation is completed, reboot the system.

### 10 Gigabit Ethernet Driver Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the 10 Gigabit Ethernet Driver by expanding the directory in the following order, AR580 F2 -> Network Adapters -> Intel onboard LAN (Intel Twinville Dual-ports 10 Gb Ethernet controller).

- Select Windows Server 2008 R2 SP1 then click on Browse.

- Double-click on Autorun.exe.

- Follow the instructions, accept the license agreement and use the default setting to complete the driver installation.

- The driver and PROSet utility will be installed together automatically.

### VGA Driver Installation

NOTE. Windows will treat onboard VGA as Standard VGA device. Please install onboard VGA driver from Smart Setup Resource Kit DVD.

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Drivers.

- Find the VGA Driver by expanding the directory in the following order, AR580 F2 -> Graphics Adapters -> Intel Onboard VGA (Integrated 2D Video Controller).

- Select Windows Server 2008 R2 SP1 then click on Browse.

- Double-click on Install.bat.

- Accept the license agreement to install the VGA driver.

- After the installation is completed, reboot the system.

After installing the driver, you would see Matrox G200e (ServerEngines) listed in Display adapters.

### RAID Utility Installation

Note. Before installing Intel RAID Utility, please enable .NET Framework 3.0 (or later) features.

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Utilities.

- Find the Intel Onboard SAS/SATA RSTe RAID Utility by expanding the directory in the following order, AR580 F2 -> Onboard SATA RAID (Utility) -> Intel RSTe RAID (4 Port SATA).

- Select Windows Server 2008 R2 SP1.

- Double-click on Setup.exe.

- Accept the license and follow the instruction to install the RAID Utility. Reboot the system after the installation completed.

### Network Utility Installation

The PROSet utility for the onboard Gigabit Ethernet controller will be installed automatically when you installing the onboard Gigabit Ethernet driver.

## Intel Onboard SAS/SATA ESRTII RAID

Below information describes how to manually install Windows Server 2008 R2 on AR580 F2 with Intel Onboard SAS/SATA ESRTII RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) can support Windows Server 2008 R2.

### Drivers Required

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA ESRTII RAID | 15.00.0811.2012 | Smart Setup Resource Kit v2.0 |
| Chipset | Package 9.3.0.1021 | Smart Setup Resource Kit v2.0 |
| Onboard VGA | 2.2.1.0 | Smart Setup Resource Kit v2.0 |
| Onboard Gigabit Ethernet | 2.11.114.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel RAID Web Console 2 | 12.05.03.00 | Smart Setup Resource Kit v2.0 |
| PROSet | 17.2.154.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Configuring Intel Onboard SAS/SATA ESRTII RAID

Please refer to Appendix C. for Intel Onboard SAS/SATA ESRTII RAID configuration.

### Installation Tips

NOTE. Windows Server 2008 R2 cannot detect Intel Onboard SAS/SATA ESRTII RAID. Please load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Intel Onboard SAS/SATA ESRTII RAID driver from Smart Setup Resource Kit DVD to a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

- Please boot the system from the Windows Server 2008 R2 DVD. Follow the instructions to do the installation.

- When “Where do you want to install Windows” message displayed, please Insert the USB flash which includes the Intel Onboard SAS/SATA ESRTII RAID driver and click on “Load Driver”.

- Specify the folder that includes the Intel onboard SAS/SATA ESRTII RAID driver and the system will show the available driver. Select “Intel Embedded Server RAID Technology II (<folder>\MegaSR1.inf)” as target driver.

- After loading the RAID driver, you could click “Drive options” to partition the drive or click “Next” to use default disk partition setting directly.

- Follow the normal procedure to finish the installation.

### Chipset Driver Package Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the Chipset Driver by expanding the directory in the following order, AR580 F2 -> Chipset -> Intel Chipset

- Select Windows Server 2008 R2 SP1 then click on Browse.

- Double-click on Setup.exe and follow the instructions to complete the driver installation.

- After the installation is completed, reboot the system.

### 10 Gigabit Ethernet Driver Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the 10 Gigabit Ethernet Driver by expanding the directory in the following order, AR580 F2 -> Network Adapters -> Intel onboard LAN (Intel Twinville Dual-ports 10 Gb Ethernet controller).

- Select Windows Server 2008 R2 SP1 then click on Browse.

- Double-click on Autorun.exe.

- Follow the instructions, accept the license agreement and use the default setting to complete the driver installation.

- The driver and PROSet utility will be installed together automatically.

### VGA Driver Installation

NOTE. Windows will treat onboard VGA as Standard VGA device. Please install onboard VGA driver from Smart Setup Resource Kit DVD.

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Drivers.

- Find the VGA Driver by expanding the directory in the following order, AR580 F2 -> Graphics Adapters -> Intel Onboard VGA (Integrated 2D Video Controller).

- Select Windows Server 2008 R2 SP1 then click on Browse.

- Double-click on Install.bat.

- Accept the license agreement to install the VGA driver.

- After the installation is completed, reboot the system.

After installing the driver, you would see Matrox G200e (ServerEngines) listed in Display adapters.

### RAID Utility Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Utilities.

- Find the Intel Onboard SAS/SATA RSTe RAID Utility by expanding the directory in the following order, AR580 F2 -> Onboard SATA RAID (Utility) -> Intel ESRT RAID (4 Port SATA).

- Select Windows Server 2008 R2 SP1.

- Double-click on Setup.exe.

- Accept the license and follow the instruction to install the RAID Utility. Reboot the system after the installation completed.

### Network Utility Installation

The PROSet utility for the onboard Gigabit Ethernet controller will be installed automatically when you installing the onboard Gigabit Ethernet driver.

# Windows Server 2008

## Integrated Hardware RAID

Below information describes how to manually install Windows Server 2008 on AR580 F2 with Integrated Hardware RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) can support Windows Server 2008.

### Drivers Required (64 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Integrated Hardware RAID | 5.2.116.64 | Smart Setup Resource Kit v2.0 |
| Chipset | Package 9.3.0.1021 | Smart Setup Resource Kit v2.0 |
| Onboard VGA | 2.2.1.0 | Smart Setup Resource Kit v2.0 |
| Onboard Gigabit Ethernet | 2.11.114.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Drivers Required (32 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Integrated Hardware RAID | 5.2.116.32 | Smart Setup Resource Kit v2.0 |
| Chipset | Package 9.3.0.1021 | Smart Setup Resource Kit v2.0 |
| Onboard VGA | 2.2.1.0 | Smart Setup Resource Kit v2.0 |
| Onboard Gigabit Ethernet | 2.11.114.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel RAID Web Console 2 | 12.05.03.00 | Smart Setup Resource Kit v2.0 |
| PROSet | 17.2.154.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Configuring Integrated Hardware RAID

Please refer to Appendix A. for Integrated Hardware RAID configuration.

### Installation Tips

NOTE. When you install OS with the integrated Hardware RAID, please disable onboard SAS RAID through BIOS Setup (Advanced > Mass Storage Controller Configuration option)

SAS/SATA Capable Controller     [Disabled]

NOTE. Windows Server 2008 cannot detect Integrated Hardware RAID. Please load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Integrated Hardware RAID driver from Smart Setup Resource Kit DVD to a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well if the AR580 F2 has no built-in optical drive installed. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

- Please boot the system with the Windows Server 2008 DVD. Follow the instructions to do the installation.

- When “Where do you want to install Windows” message displayed, please Insert the USB flash which includes the Integrated Hardware RAID driver and click on “Load Driver”.

- Specify the folder that includes the Integrated Hardware RAID driver and the system will show the available driver. Select “megasas2.inf” as target driver.

- After loading the RAID driver, you could click “Drive options” to partition the drive or click “Next” to use default disk partition setting directly.

- Follow the normal procedure to finish the installation.

### Chipset Driver Package Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the Chipset Driver by expanding the directory in the following order, AR580 F2 -> Chipset -> Intel Chipset

- Select Windows Server 2008 SP2 (32-bit/64-bit) then click on Browse.

- Double-click on Setup.exe and follow the instructions to complete the driver installation.

- After the installation is completed, reboot the system.

### 10 Gigabit Ethernet Driver Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the 10 Gigabit Ethernet Driver by expanding the directory in the following order, AR580 F2 -> Network Adapters -> Intel onboard LAN (Intel Twinville Dual-ports 10 Gb Ethernet controller).

- Select Windows Server 2008 SP2 (32-bit/64-bit) then click on Browse.

- Double-click on Autorun.exe.

- Follow the instructions, accept the license agreement and use the default setting to complete the driver installation.

- The driver and PROSet utility will be installed together automatically.

### VGA Driver Installation

NOTE. Windows will treat onboard VGA as Standard VGA device. Please install onboard VGA driver from Smart Setup Resource Kit DVD.

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Drivers.

- Find the VGA Driver by expanding the directory in the following order, AR580 F2 -> Graphics Adapters -> Intel Onboard VGA (Integrated 2D Video Controller).

- Select Windows Server 2008 SP2 (32-bit/64-bit) then click on Browse.

- Double-click on Install.bat.

- Accept the license agreement to install the VGA driver.

- After the installation is completed, reboot the system.

After installing the driver, you would see Matrox G200e (ServerEngines) listed in Display adapters.

### RAID Utility Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Utilities.

- Find the Integrated Hardware RAID Utility by expanding the directory in the following order, AR580 F2 -> SAS RAID (Utility) -> Intel Integrated RAID Module RMS25PB080 (LSI2208 ROC) (MSM).

- Select Windows Server 2008 SP2 (64-bit/32-bit).

- Double-click on Setup.exe.

- Accept the license and follow the instruction to install the RAID Utility.

- In LDAP configuration step, you can configure the LDAP by desired.

- Reboot the system after the installation completed.

### Network Utility Installation

The PROSet utility for the onboard 10 Gigabit Ethernet controller will be installed automatically when you installing the onboard 10 Gigabit Ethernet Driver.

## Intel Onboard SAS/SATA RSTe RAID

Below information describes how to manually install Windows Server 2008 on AR580 F2 with Intel Onboard SAS/SATA RSTe RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) is required to support Windows Server 2008.

### Drivers Required (64 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA RSTe RAID | 3.5.1.1009_2012.10.08 | Smart Setup Resource Kit v2.0 |
| Chipset | Package 9.3.0.1021 | Smart Setup Resource Kit v2.0 |
| Onboard VGA | 2.2.1.0 | Smart Setup Resource Kit v2.0 |
| Onboard Gigabit Ethernet | 2.11.114.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Drivers Required (32 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA RSTe RAID | 3.5.1.1009_2012.10.08 | Smart Setup Resource Kit v2.0 |
| Chipset | Package 9.3.0.1021 | Smart Setup Resource Kit v2.0 |
| Onboard VGA | 2.2.1.0 | Smart Setup Resource Kit v2.0 |
| Onboard Gigabit Ethernet | 2.11.114.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA RSTe RAID Utility | 3.5.1.1009_2012.10.08 | Smart Setup Resource Kit v2.0 |
| PROSet | 17.1.55.0 (Package 17.1) | Smart Setup Resource Kit v2.0 |

### Configuring Intel Onboard SAS/SATA RSTe RAID

Please refer to Appendix B. for Intel Onboard SAS/SATA RSTe RAID configuration.

### Installation Tips

NOTE. Please refer to AR580 F2 FAQ (Frequently Asked Questions) to select OS installation in EFI mode or Legacy mode if the OS media supports EFI.

NOTE. Windows Server 2008 cannot detect Intel Onboard SAS/SATA RSTe RAID. Please load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Intel Onboard SAS/SATA RSTe RAID driver from Smart Setup Resource Kit DVD to a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

- Please boot the system from the Windows Server 2008 DVD. Follow the instructions to do the installation.

- When “Where do you want to install Windows” message displayed, please Insert the USB flash which includes the Intel Onboard SAS/SATA RSTe RAID driver and click on “Load Driver”.

- Specify the folder that includes the Intel onboard SAS/SATA RSte RAID driver and the system will show the available driver. Select “Intel(R) C600 Series Chipset SAS RAID Controller (<folder>\iaStorS.inf)” as target driver.

- After loading the RAID driver, you could click “Drive options” to partition the drive or click “Next” to use default disk partition setting directly.

- Follow the normal procedure to finish the installation.

### Chipset Driver Package Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the Chipset Driver by expanding the directory in the following order, AR580 F2 -> Chipset -> Intel Chipset

- Select Windows Server 2008 SP2 (32-bit/64-bit) then click on Browse.

- Double-click on Setup.exe and follow the instructions to complete the driver installation.

- After the installation is completed, reboot the system.

### 10 Gigabit Ethernet Driver Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the 10 Gigabit Ethernet Driver by expanding the directory in the following order, AR580 F2 -> Network Adapters -> Intel onboard LAN (Intel Twinville Dual-ports 10 Gb Ethernet controller).

- Select Windows Server 2008 SP2 (32-bit/64-bit) then click on Browse.

- Double-click on Autorun.exe.

- Follow the instructions, accept the license agreement and use the default setting to complete the driver installation.

- The driver and PROSet utility will be installed together automatically.

### VGA Driver Installation

NOTE. Windows will treat onboard VGA as Standard VGA device. Please install onboard VGA driver from Smart Setup Resource Kit DVD.

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Drivers.

- Find the VGA Driver by expanding the directory in the following order, AR580 F2 -> Graphics Adapters -> Intel Onboard VGA (Integrated 2D Video Controller).

- Select Windows Server 2008 SP2 (32-bit/64-bit) then click on Browse.

- Double-click on Install.bat.

- Accept the license agreement to install the VGA driver.

- After the installation is completed, reboot the system.

After installing the driver, you would see Matrox G200e (ServerEngines) listed in Display adapters.

### RAID Utility Installation

Note. Before installing Intel RAID Utility, please enable .NET Framework 3.0 (or later) features.

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Utilities.

- Find the Intel Onboard SAS/SATA RSTe RAID Utility by expanding the directory in the following order, AR580 F2 -> Onboard SATA RAID (Utility) -> Intel RSTe RAID (4 Port SATA).

- Select Windows Server 2008 SP2 (32-bit/64-bit).

- Double-click on Setup.exe.

- Accept the license and follow the instruction to install the RAID Utility. Reboot the system after the installation completed.

### Network Utility Installation

The PROSet utility for the onboard Gigabit Ethernet controller will be installed automatically when you installing the onboard Gigabit Ethernet driver.

## Intel Onboard SAS/SATA ESRTII RAID

Below information describes how to manually install Windows Server 2008 on AR580 F2 with Intel Onboard SAS/SATA ESRTII RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) can support Windows Server 2008.

### Drivers Required (64 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA ESRTII RAID | 15.00.0811.2012 | Smart Setup Resource Kit v2.0 |
| Chipset | Package 9.3.0.1021 | Smart Setup Resource Kit v2.0 |
| Onboard VGA | 2.2.1.0 | Smart Setup Resource Kit v2.0 |
| Onboard Gigabit Ethernet | 2.11.114.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Drivers Required (32 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA ESRTII RAID | 15.00.0811.2012 | Smart Setup Resource Kit v2.0 |
| Chipset | Package 9.3.0.1021 | Smart Setup Resource Kit v2.0 |
| Onboard VGA | 2.2.1.0 | Smart Setup Resource Kit v2.0 |
| Onboard Gigabit Ethernet | 2.11.114.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel RAID Web Console 2 | 12.05.03.00 | Smart Setup Resource Kit v2.0 |
| PROSet | 17.2.154.0 (Package 17.2) | Smart Setup Resource Kit v2.0 |

### Configuring Intel Onboard SAS/SATA ESRTII RAID

Please refer to Appendix C. for Intel Onboard SAS/SATA ESRTII RAID configuration.

### Installation Tips

NOTE. Windows Server 2008 cannot detect Intel Onboard SAS/SATA ESRTII RAID. Please load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Intel Onboard SAS/SATA ESRTII RAID driver from Smart Setup Resource Kit DVD to a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

- Please boot the system from the Windows Server 2008 DVD. Follow the instructions to do the installation.

- When “Where do you want to install Windows” message displayed, please Insert the USB flash which includes the Intel Onboard SAS/SATA RSTEII RAID driver and click on “Load Driver”.

- Specify the folder that includes the Intel onboard SAS/SATA ESRTIIR RAID driver and the system will show the available driver. Select “Intel Embedded Server RAID Technology II (<folder>\MegaSR1.inf)” as target driver.

- After loading the RAID driver, you could click “Drive options” to partition the drive or click “Next” to use default disk partition setting directly.

- Follow the normal procedure to finish the installation.

### Chipset Driver Package Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the Chipset Driver by expanding the directory in the following order, AR580 F2 -> Chipset -> Intel Chipset

- Select Windows Server 2008 SP2 (32-bit/64-bit) then click on Browse.

- Double-click on Setup.exe and follow the instructions to complete the driver installation.

- After the installation is completed, reboot the system.

### 10 Gigabit Ethernet Driver Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive

- Select model and click on Drivers.

- Find the 10 Gigabit Ethernet Driver by expanding the directory in the following order, AR580 F2 -> Network Adapters -> Intel onboard LAN (Intel Twinville Dual-ports 10 Gb Ethernet controller).

- Select Windows Server 2008 SP2 (32-bit/64-bit) then click on Browse.

- Double-click on Autorun.exe.

- Follow the instructions, accept the license agreement and use the default setting to complete the driver installation.

- The driver and PROSet utility will be installed together automatically.

### VGA Driver Installation

NOTE. Windows will treat onboard VGA as Standard VGA device. Please install onboard VGA driver from Smart Setup Resource Kit DVD.

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Drivers.

- Find the VGA Driver by expanding the directory in the following order, AR580 F2 -> Graphics Adapters -> Intel Onboard VGA (Integrated 2D Video Controller).

- Select Windows Server 2008 SP2 (32-bit/64-bit) then click on Browse.

- Double-click on Install.bat.

- Accept the license agreement to install the VGA driver.

- After the installation is completed, reboot the system.

After installing the driver, you would see Matrox G200e (ServerEngines) listed in Display adapters.

### RAID Utility Installation

- Please insert the Smart Setup Resource Kit DVD into the optical drive.

- Select model and click on Utilities.

- Find the Intel Onboard SAS/SATA RSTe RAID Utility by expanding the directory in the following order, AR580 F2 -> Onboard SATA RAID (Utility) -> Intel ESRT RAID (4 Port SATA).

- Select Windows Server 2008 SP2 (64-bit/32-bit).

- Double-click on Setup.exe.

- Accept the license and follow the instruction to install the RAID Utility. Reboot the system after the installation completed.

### Network Utility Installation

The PROSet utility for the onboard Gigabit Ethernet controller will be installed automatically when you installing the onboard Gigabit Ethernet driver.

# Red Hat Enterprise Linux 6 UPDATE 2

## Integrated Hardware RAID

Below information describes how to manually install Red Hat Enterprise Linux 6 Update 2 on AR580 F2 with Integrated Hardware RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) is required to support Red Hat Enterprise Linux 6 Update 2.

### Drivers Required (64 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Integrated Hardware RAID | 00.00.06.18 | Smart Setup Resource Kit v2.0. |
| Onboard VGA | N/A | OS Built-in |
| Onboard Gigabit Ethernet | 3.11.8 (Package 17.2) | Smart Setup Resource Kit v2.0. |

### Drivers Required (32 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Integrated Hardware RAID | 00.00.06.18 | Smart Setup Resource Kit v2.0. |
| Onboard VGA | N/A | OS Built-in |
| Onboard Gigabit Ethernet | 3.11.8 (Package 17.2) | Smart Setup Resource Kit v2.0. |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel RAID Web Console 2 | 12.05.03.00 | Smart Setup Resource Kit v2.0. |

### Configuring Integrated Hardware RAID

Please refer to Appendix A. for Integrated Hardware RAID configuration

### Installation Tips

NOTE. When you install OS with the integrated Hardware RAID, please disable onboard SAS RAID through BIOS Setup (Advanced > Mass Storage Controller Configuration option)

SAS/SATA Capable Controller     [Disabled]

NOTE. Red Hat Enterprise Linux 6 Update 2 cannot detect Integrated Hardware RAID. Please load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Integrated Hardware RAID driver (megaraid_sas-v00.00.06.18_rhel6.2-1.x86_64.iso for 64-bit & megaraid_sas-v00.00.06.18_rhel6.2-1.i686.iso for 32-bit) from Smart Setup Resource Kit DVD onto a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well if the AR580 F2 has no built-in optical drive installed. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

- Please boot the system with the Red Hat Enterprise Linux 6 Update 2.

- At Welcome Menu, Please press ESC and type below command. Then press Enter and go to step 9.

linux dd

- For EFI installation, when the following message shows on screen on screen, press any key to enter the boot menu

Press any key to enter the menu

- Select Red Hat Enterprise Linux 6.2 and press e.

- Select kernel /images/pxeboot/vmlinuz and press e.

- Add the linux dd physefi to the end of the line and press Enter.

- Back to boot menu and make sure the linux dd physefi was added

- Press b to boot the system.

- Follow the instruction to select the Driver Disk Source to load the driver for Integrated Hardware RAID.

- Follow the instruction and select Integrated Hardware RAID (i.e. Intel RMS25PB080) as the install target device for the installation.

- Please Select Software Development Workstation.

- Please follow the normal procedure to finish the installation.

- For EFI installation, please boot to the OS and add physefi at the end of kernel line in grub.conf file when OS installation is complete.

# cd /boot/efi/EFI/redhat

# vi grub.conf

Please add “physefi” at the end of kernel line

### 10 Gigabit Ethernet Driver Installation

NOTE. The onboard 10 Gigabit Ethernet Driver is included in Smart Setup Resource Kit DVD. Please check path of the RAID utility in Windows OS environment first and copy the driver from the Smart Setup Resource Kit DVD to HDD (e.g. /tmp directory).

- Stop network service

# service network stop

- Remove the OS built-in NIC driver

# rmmod ixgbe

- Change the directory to the driver source and install the driver

# cd /tmp

# tar zxvf ixgbe-<version>.tar.gz

# cd ixgbe-<version>/src/

# make install

# modprobe ixgbe

- Start the network service to bring up both of the network interfaces.

# service network start

- Use the network configuration utility like system-config-network in command line or select System -> Preferences-> Network Connections in GUI to configure the network interfaces.

### VGA Driver Installation

Red Hat Enterprise Linux 6 Update 2 has the built-in driver for onboard VGA. You don’t need to install the VGA driver manually.

### RAID Utility Installation

NOTE. The RAID utility is included in Smart Setup Resource Kit DVD. Please check path of the RAID utility in Windows OS environment first and copy the RAID utility from the Smart Setup Resource Kit DVD to HDD (e.g. /tmp directory)

- Install RAID Utility

# cd /tmp/

# ./install.csh

- Input Y to accept the license agreement.

- Please select 3 for StandAlone installation.

- To start the RAID Utility, click on Applications -> System Tools -> RAID Web Console 2 StartupUI.

## Intel Onboard SAS/SATA ESRTII RAID

Below information describes how to manually install Red Hat Enterprise Linux 6 Update 2 on AR580 F2 with Intel Onboard SAS/SATA ESRTII RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) is required to support Red Hat Enterprise Linux 6 Update 2.

### Drivers Required (64 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA ESRTII RAID | 15.00.0725.2012 | Smart Setup Resource Kit v2.0. |
| Onboard VGA | N/A | OS Built-in |
| Onboard Gigabit Ethernet | 3.11.8 (Package 17.2) | Smart Setup Resource Kit v2.0. |

### Drivers Required (32 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA ESRTII RAID | 15.00.0725.2012 | Smart Setup Resource Kit v2.0. |
| Onboard VGA | N/A | OS Built-in |
| Onboard Gigabit Ethernet | 3.11.8 (Package 17.2) | Smart Setup Resource Kit v2.0. |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel RAID Web Console 2 | 12.05.03.00 | Smart Setup Resource Kit v2.0. |

### Configuring Intel Onboard SAS/SATA ESRTII RAID

Please refer to Appendix C. for Intel Onboard SAS/SATA ESRTII RAID configuration

### Installation Tips

NOTE. Red Hat Enterprise Linux 6 Update 2 cannot detect Intel Onboard SAS/SATA ESRTII RAID. Please load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Intel Onboard SAS/SATA ESRTII RAID driver (megasr-15.00.0725.2012-1-rhel62-ga-x86_64.img for 64-bit & megasr-15.00.0725.2012-1-rhel62-ga-x86.img for 32-bit) from Smart Setup Resource Kit DVD onto a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

- Please boot the system from the Red Hat Enterprise Linux 6 Update 2.

- At Welcome Menu, Please press ESC and type below command. Then press Enter to continue.

linux dd

- Follow the instruction to select the Driver Disk Source to load the driver for Intel Onboard SAS/SATA ESRTII RAID.

- Follow the instruction and select Intel MegaSR as the install target device for the installation.

- Please Select Software Development Workstation.

- Please follow the normal procedure to finish the installation.

### 10 Gigabit Ethernet Driver Installation

NOTE. The onboard 10 Gigabit Ethernet Driver is included in Smart Setup Resource Kit DVD. Please check path of the RAID utility in Windows OS environment first and copy the driver from the Smart Setup Resource Kit DVD to HDD (e.g. /tmp directory).

- Stop network service

# service network stop

- Remove the OS built-in NIC driver

# rmmod ixgbe

- Change the directory to the driver source and install the driver

# cd /tmp

# tar zxvf ixgbe-<version>.tar.gz

# cd ixgbe-<version>/src/

# make install

# modprobe ixgbe

- Start the network service to bring up both of the network interfaces.

# service network start

- Use the network configuration utility like system-config-network in command line or select System -> Preferences-> Network Connections in GUI to configure the network interfaces.

### VGA Driver Installation

Red Hat Enterprise Linux 6 Update 2 has the built-in driver for onboard VGA. You don’t need to install the VGA driver manually.

### RAID Utility Installation

NOTE. The RAID utility is included in Smart Setup Resource Kit DVD. Please check path of the RAID utility in Windows OS environment first and copy the RAID utility from the Smart Setup Resource Kit DVD to HDD (e.g. /tmp directory)

- Install RAID Utility

# cd /tmp/

# ./install.csh

- Input Y to accept the license agreement.

- Please select 3 for StandAlone installation.

- To start the RAID Utility, click on Applications -> System Tools -> RAID Web Console 2 StartupUI.

# Red Hat Enterprise Linux 5 UPDATE 8

## Integrated Hardware RAID

Below information describes how to manually install Red Hat Enterprise Linux 5 Update 8 on AR580 F2 with Integrated Hardware RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) is required to support Red Hat Enterprise Linux 5 Update 8.

### Drivers Required (64 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Integrated Hardware RAID | 00.00.06.18 | Smart Setup Resource Kit v2.0. |
| Onboard VGA | N/A | OS Built-in |
| Onboard Gigabit Ethernet | 3.11.8 (Package 17.2) | Smart Setup Resource Kit v2.0. |

### Drivers Required (32 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Integrated Hardware RAID | 00.00.06.18 | Smart Setup Resource Kit v2.0. |
| Onboard VGA | N/A | OS Built-in |
| Onboard Gigabit Ethernet | 3.11.8 (Package 17.2) | Smart Setup Resource Kit v2.0. |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel RAID Web Console 2 | 12.05.03.00 | Smart Setup Resource Kit v2.0. |

### Configuring Integrated Hardware RAID

Please refer to Appendix A. for Integrated Hardware RAID configuration.

### Installation Tips

NOTE. When you install OS with the integrated Hardware RAID, please disable onboard SAS RAID through BIOS Setup (Advanced > Mass Storage Controller Configuration option)

SAS/SATA Capable Controller     [Disabled]

NOTE. Red Hat Enterprise Linux 5 Update 8 cannot detect Integrated Hardware RAID. Please load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Integrated Hardware RAID driver (megaraid_sas-v00.00.06.18-1-rhel50-u8-all.img for 64-bit & 32-bit) from Smart Setup Resource Kit DVD onto a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

NOTE. Please install the OS in text mode and then update the vga configuration file prior to start the GUI mode.

- Please boot the system with the Red Hat Enterprise Linux 5 Update 8.

- When the prompt boot: appears on the screen, please type linux dd text then press Enter to continue.

- Follow the instruction to select the Driver Disk Source to load the driver for Integrated Hardware RAID.

- Follow the instruction and select Integrated Hardware RAID as the install target device for the installation.

- At the package selection step, select Software Development for the installation package.

- Please follow the normal procedure to finish the installation.

- Boot the system into the OS.

Go to /etc/X11 folder.

Make a copy of xorg.conf file as a backup

Edit xorg.conf file. Locate “mga” entry and replace it with “vesa”

Original:           Driver “mga”

Change to:          Driver “vesa”

Save the xorg.conf file and exit

Type “startx” to start GUI mode.

You could set GUI mode as default by update the inittab file from 3 to 5

# cd /etc

# vi inittab

Update the value to 5 as below

id:5:initdefault:

### 10 Gigabit Ethernet Driver Installation

NOTE. The onboard 10 Gigabit Ethernet Driver is included in Smart Setup Resource Kit DVD. Please check path of the RAID utility in Windows OS environment first and copy the driver from the Smart Setup Resource Kit DVD to HDD (e.g. /tmp directory).

- Stop network service

# service network stop

- Remove the OS built-in NIC driver

# rmmod ixgbe

- Change the directory to the driver source and install the driver

# cd /tmp

# tar zxvf ixgbe-<version>.tar.gz

# cd ixgbe-<version>/src/

# make install

# modprobe ixgbe

- Start the network service to bring up both of the network interfaces.

# service network start

- Use the network configuration utility like system-config-network in command line or select System -> Preferences-> Network Connections in GUI to configure the network interfaces.

### VGA Driver Installation

Red Hat Enterprise Linux 5 Update 8 has the built-in driver for onboard VGA. You don’t need to install the VGA driver manually.

### RAID Utility Installation

NOTE. The RAID utility is included in Smart Setup Resource Kit DVD. Please check path of the RAID utility in Windows OS environment first and copy the RAID utility from the Smart Setup Resource Kit DVD to HDD (e.g. /tmp directory)

- Install RAID Utility

# cd /tmp/

# ./install.csh

- Input Y to accept the license agreement.

- Please select 3 for StandAlone installation.

- To start the RAID Utility, click on Applications -> System Tools -> RAID Web Console 2 StartupUI.

## Intel Onboard SAS/SATA ESRTII RAID

Below information describes how to manually install Red Hat Enterprise Linux 5 Update 8 on AR580 F2 with Intel Onboard SAS/SATA ESRTII RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) is required to support Red Hat Enterprise Linux 5 Update 8.

### Drivers Required (64 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA ESRTII RAID | 15.00.0725.2012 | Smart Setup Resource Kit v2.0. |
| Onboard VGA | N/A | OS Built-in |
| Onboard Gigabit Ethernet | 3.11.8 (Package 17.2) | Smart Setup Resource Kit v2.0. |

### Drivers Required (32 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA ESRTII RAID | 15.00.0725.2012 | Smart Setup Resource Kit v2.0. |
| Onboard VGA | N/A | OS Built-in |
| Onboard Gigabit Ethernet | 3.11.8 (Package 17.2) | Smart Setup Resource Kit v2.0. |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel RAID Web Console 2 | 12.05.03.00 | Smart Setup Resource Kit v2.0. |

### Configuring Intel Onboard SAS/SATA ESRTII RAID

Please refer to Appendix C. for Intel Onboard SAS/SATA ESRTII RAID configuration.

### Installation Tips

NOTE. Red Hat Enterprise Linux 5 Update 8 cannot detect Intel Onboard SAS/SATA ESRTII RAID. Please load the RAID driver during OS installation.

NOTE. You need an external USB floppy drive or USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Intel Onboard SAS/SATA ESRTII RAID driver (megasr-15.00.0725.2012-1-rhel50-U8-64.img for 64-bit & megasr-15.00.0725.2012-1-rhel50-U8-32.img for 32-bit) from Smart Setup Resource Kit DVD onto a floppy diskette or USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

NOTE. Please install the OS in text mode and then update the vga configuration file prior to start the GUI mode.

- Please boot the system from the Red Hat Enterprise Linux 5 Update 8.

- When the prompt boot: appears on the screen, please type linux dd text then press Enter to continue.

- Follow the instruction to select the Driver Disk Source to load the driver for Intel Onboard SAS/SATA ESRTII RAID.

- Follow the instruction and select Intel MegaSR as the install target device for the installation.

- At the package selection step, select Software Development for the installation package.

- Please follow the normal procedure to finish the installation.

- Boot the system into the OS.

- Go to /etc/X11 folder.

- Make a copy of xorg.conf file as a backup

- Edit xorg.conf file. Locate “mga” entry and replace it with “vesa”

Original:           Driver “mga”

Change to:          Driver “vesa”

- Save the xorg.conf file and exit

- Type “startx” to start GUI mode.

### 10 Gigabit Ethernet Driver Installation

NOTE. The onboard 10 Gigabit Ethernet Driver is included in Smart Setup Resource Kit DVD. Please check path of the RAID utility in Windows OS environment first and copy the driver from the Smart Setup Resource Kit DVD to HDD (e.g. /tmp directory).

- Stop network service

# service network stop

- Remove the OS built-in NIC driver

# rmmod ixgbe

- Change the directory to the driver source and install the driver

# cd /tmp

# tar zxvf ixgbe-<version>.tar.gz

# cd ixgbe-<version>/src/

# make install

# modprobe ixgbe

- Start the network service to bring up both of the network interfaces.

# service network start

- Use the network configuration utility like system-config-network in command line or select System -> Preferences-> Network Connections in GUI to configure the network interfaces.

### VGA Driver Installation

Red Hat Enterprise Linux 5 Update 8 has the built-in driver for onboard VGA. You don’t need to install the VGA driver manually.

### RAID Utility Installation

NOTE. The RAID utility is included in Smart Setup Resource Kit DVD. Please check path of the RAID utility in Windows OS environment first and copy the RAID utility from the Smart Setup Resource Kit DVD to HDD (e.g. /tmp directory)

- Install RAID Utility

# cd /tmp/

# ./install.csh

- Input Y to accept the license agreement.

- Please select 3 for StandAlone installation.

- To start the RAID Utility, click on Applications -> System Tools -> RAID Web Console 2 StartupUI.

# SuSE Linux Enterprise Server 11 SP2

## Integrated Hardware RAID

Below information describes how to manually install SUSE Linux Enterprise Server 11 SP2 on AR580 F2 with Integrated Hardware RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) is required to support SUSE Linux Enterprise Server 11 SP2.

### Drivers Required (64 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Integrated Hardware RAID | 00.00.06.18 | Smart Setup Resource Kit v2.0. |
| Onboard VGA | N/A | OS Built-in |
| Onboard Gigabit Ethernet | 3.11.8 (Package 17.2) | Smart Setup Resource Kit v2.0. |

### Drivers Required (32 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Integrated Hardware RAID | 00.00.06.18 | Smart Setup Resource Kit v2.0. |
| Onboard VGA | N/A | OS Built-in |
| Onboard Gigabit Ethernet | 3.11.8 (Package 17.2) | Smart Setup Resource Kit v2.0. |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel RAID Web Console 2 | 12.05.03.00 | Smart Setup Resource Kit v2.0. |

### Configuring Integrated Hardware RAID

Please refer to Appendix A for Integrated Hardware RAID configuration

### Installation Tips

NOTE. When you install OS with the integrated Hardware RAID, please disable onboard SAS RAID through BIOS Setup (Advanced > Mass Storage Controller Configuration option)

SAS/SATA Capable Controller     [Disabled]

NOTE. SUSE Linux Enterprise Server 11 SP2 cannot detect Integrated Hardware RAID. Please load the RAID driver during OS installation.

NOTE. You need an USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Integrated Hardware RAID driver (megaraid_sas-v00.00.06.18-1-sles11-sp2-64bit.img for 64-bit & megaraid_sas-v00.00.06.18-1-sles11-sp2-32bit.img for 32-bit) from Smart Setup Resource Kit DVD and then write the .img onto an USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well if the AR580 F2 has no built-in optical drive installed. Please prepare a USB Hub to have USB keyboard, USB mouse, USB floppy/flash drive and USB optical drive connected.

NOTE. Please install the driver after the OS is installed completely.

- Please boot the system with the SuSE Linux Enterprise Server 11 SP2 DVD.

- When you see the boot menu on the screen, please select Installation option. Then press Enter to continue.

- Follow the instruction to load the driver for Integrated Hardware RAID.

- Press back to boot the system.

- Follow the instruction to install the OS.

- At the Installation Settings, click on the Software.

- Check C/C++ Compiler and Tools under Development to add C/C++ compiler tools.

- Click on Accept and continue the installation.

- Follow the instruction to complete the installation.

- Boot the system into the OS.

- Open a terminal window and install the driver by typing below commands.

# rpm -ivh dkms-2.0.22.0-1.noarch.rpm

# rpm -ivh megaraid_sas-v00.00.06.18-1.noarch.rpm

- Reboot the system.

### 10 Gigabit Ethernet Driver Installation

NOTE. The onboard 10 Gigabit Ethernet Driver is included in Smart Setup Resource Kit DVD. Please check path of the RAID utility in Windows OS environment first and copy the driver from the Smart Setup Resource Kit DVD to HDD (e.g. /tmp directory)

- Stop network service

# service network stop

- Remove the OS built-in NIC driver

# rmmod ixgbe

- Change the directory to the driver source and install the driver

# cd /tmp

# tar zxvf ixgbe-<version>.tar.gz

# cd ixgbe-<version>/src/

# make install

# modprobe ixgbe

- Start the network service to bring up both of the network interfaces.

# service network start

- Network configuration

# YaST2

- Select Network Devices -> Network Settings to configure the network setting.

### VGA Driver Installation

SUSE Linux Enterprise Server 11 SP2 has the built-in driver for onboard VGA. You don’t need to install the VGA driver manually.

### RAID Utility Installation

NOTE. The RAID utility is included in Smart Setup Resource Kit DVD. Please check path of the RAID utility in Windows OS environment first and copy the RAID utility from the Smart Setup DVD to HDD (e.g. /tmp directory)

- Install RAID Utility

# cd /tmp/

# ./install.csh

- Input Y to accept the license agreement.

- Please select 3 for StandAlone installation.

- To start the RAID Utility, click on Computer -> More Applications -> System -> RAID Web Console 2 StartupUI.

## Intel Onboard SAS/SATA ESRTII RAID

Below information describes how to manually install SUSE Linux Enterprise Server 11 SP2 on AR580 F2 with Intel Onboard SAS/SATA ESRTII RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) is required to support SUSE Linux Enterprise Server 11 SP2.

### Drivers Required (64 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA ESRTII RAID | 15.00.0725.2012 | Smart Setup Resource Kit v2.0. |
| Onboard VGA | N/A | OS Built-in |
| Onboard Gigabit Ethernet | 3.11.8 (Package 17.2) | Smart Setup Resource Kit v2.0. |

### Drivers Required (32 bit)

| Device | Version | Driver Source |
| --- | --- | --- |
| Intel Onboard SAS/SATA ESRTII RAID | 15.00.0725.2012 | Smart Setup Resource Kit v2.0. |
| Onboard VGA | N/A | OS Built-in |
| Onboard Gigabit Ethernet | 3.11.8 (Package 17.2) | Smart Setup Resource Kit v2.0. |

### Software Required

| Software | Version | Software Source |
| --- | --- | --- |
| Intel RAID Web Console 2 | 12.05.03.00 | Smart Setup Resource Kit v2.0. |

### Configuring Intel Onboard SAS/SATA ESRTII RAID

Please refer to Appendix C for Intel Onboard SAS/SATA ESRTII RAID configuration

### Installation Tips

NOTE. SUSE Linux Enterprise Server 11 SP2 cannot detect Intel Onboard SAS/SATA ESRTII RAID. Please load the RAID driver during OS installation.

NOTE. You need an USB Flash drive to load RAID driver during the OS installation.

NOTE. Please copy Intel Onboard SAS/SATA ESRTII RAID driver (megasr-15.00.0725.2012-1-sles11-sp2-x86_64.img for 64-bit & megasr-15.00.0725.2012-1-sles11-sp2-x86.img for 32-bit) from Smart Setup Resource Kit DVD and then write the .img onto an USB flash drive. The steps of write the .img file driver into USB flash drive.

NOTE. For OS installation, a USB optical drive is required as well. Please prepare a USB Hub to have USB keyboard, USB mouse, USB flash drive and USB optical drive connected.

- Please boot the system from the SuSE Linux Enterprise Server 11 SP2 DVD.

- When you see the boot menu on the screen, please select Installation and press F6 to select Yes. Then press Enter to continue.

- Follow the instruction to load the driver for Intel Onboard SAS/SATA ESRTII RAID.

- Press back to boot the system.

- Follow the instruction to install the OS.

- At the Installation Settings, click on the Software.

- Check C/C++ Compiler and Tools under Development to add C/C++ compiler tools.

- Click on Accept and continue the installation.

- Follow the instruction to complete the installation.

### 10 Gigabit Ethernet Driver Installation

NOTE. The onboard Gigabit Ethernet driver is included in Smart Setup Resource Kit DVD. Please check path of the RAID utility in Windows OS environment first and copy the driver from the Smart Setup Resource Kit DVD to HDD (e.g. \PRO1000\LINUX\igb-<version>.tar.gz  to /tmp directory)

- Stop network service

# service network stop

- Remove the OS built-in NIC driver

# rmmod ixgbe

- Change the directory to the driver source and install the driver

# cd /tmp

# tar zxvf ixgbe-<version>.tar.gz

# cd ixgbe-<version>/src/

# make install

# modprobe ixgbe

- Start the network service to bring up both of the network interfaces.

# service network start

- Network configuration

# YaST2

- Select Network Devices -> Network Settings to configure the network setting.

### VGA Driver Installation

SUSE Linux Enterprise Server 11 SP2 has the built-in driver for onboard VGA. You don’t need to install the VGA driver manually.

### RAID Utility Installation

NOTE. The RAID utility is included in Smart Setup Resource Kit DVD. Please check path of the RAID utility in Windows OS environment first and copy the RAID utility from the Smart Setup DVD to HDD (e.g. /tmp directory)

- Install RAID Utility

# cd /tmp/

# ./install.csh

- Input Y to accept the license agreement.

- Please select 3 for StandAlone installation.

- To start the RAID Utility, click on Computer -> More Applications ->  System -> RAID Web Console 2 StartupUI.

# VMware ESXi 5.0 Update 1

## Integrated Hardware RAID

Below information describes how to manually install VMware ESXi 5.0 update 1 on AR580 F2 with Integrated Hardware RAID.

### BIOS Required

AR580 F2 BIOS 01.07.0001 (or later) is required to support VMware ESXi 5.0 update 1.

### Drivers Required

| Device | Version | Driver Source |
| --- | --- | --- |
| Integrated Hardware RAID | 5.34 | OS built-in |
| Onboard VGA | N/A | OS built-in |
| Onboard Gigabit Ethernet | 2.1.11.1 | OS built-in |

### Configuring Integrated Hardware RAID

Please refer to Appendix A. for Integrated Hardware RAID configuration.

### Installation Tips

NOTE. When you install OS with the integrated Hardware RAID, please disable onboard SAS RAID through BIOS Setup (Advanced > Mass Storage Controller Configuration option)

SAS/SATA Capable Controller     [Disabled]

NOTE. Please use the built-in driver of VMware ESXi 5.0 Update 1 to install the OS.

NOTE. Please disable the Memory Mapped I/O above 4GB setting before the installation. You can find the setting at BIOS Setup > Advanced > PCI Configuration menu.

Memory Mapped I/O above 4GB         [Disabled]

NOTE. Please enable the Intel Virtualization Technology and Intel VT for Direct I/O in BIOS before the installation. You can find the setting at BIOS Setup > Advanced > Processor Configuration menu.

Intel Virtualization Technology     [Enabled]

Intel VT for Direct I/O             [Enabled]

- Boot the system with VMware ESXi 5.0 Update 1 installation CD

- Select ESXi-5.0.0-20120302001-standard Installer from the boot menu.

- At the Welcome screen, press Enter to continue with the installation.

- Accept VMware license by pressing F11.

- At the Select a Disk screen, select the disk drive on which to install ESXi 5.0 update 1 and press Enter.

- Follow the instructions to select the keyboard layout, root password.

- At Confirm Install screen, press F11 to start the installation.

- When the installation is completed, press Enter to reboot the host. Please remove the installation CD before the host rebooted.

### Configure the VMware ESXi 5.0 Update 1 host

- When the installation is completed, reboot the host into VMware ESXi 5.0 update 1.

- Press F2 to configure the host.

- Select Configure Management Network to set IP address.

- Select the network adapter which you want to configure in Network Adapters and set the IP address in IP configuration.

- Press ESC when complete the configuration.

- Press Y to save the change.

### Downloading the vSphere Client to the PC

The vSphere Client is a Windows program that you can use to configure the host and to manage virtual machines.

- On a Windows-based PC, please launch the web browser.

- Please use the browser to connect to IP address of AR580 F2 server which is installed with VMware ESXi 5.0 update 1.

- At the welcome page, please click Download the vSphere Client under Getting Started (This will redirect you to VMware website to download the vSphere Client).

### vSphere Client Installation on the PC

NOTE. The vSphere Client requires the Microsoft .NET Framwork 3.5 SP1. If it is not installed, the vSphere Client installer will install it. The Microsoft .NET Framwork 3.5 SP1 installation might require Internet connectivity.

- To install the vSphere Client on the PC by double-clicking the downloaded VMware-vicient.exe file.

- Choose a language for the installer and click OK.

- Follow the instructions and accept the license agreement to complete the installation.

### Launch vSphere Client on the PC

- Open vSphere Client on the PC.

- Type in the information to login VMware ESXi 5.0

- IP address of AR580 F2 which is installed with VMware ESXi 5.0 update

- User name (“root” by default)

- Password (set during the VMware ESXi 5.0 update 1 installation)

- When you see the Security Warning pop-up window, please check the checkbox for Install this certificate and do not display any security warnings for “IP address/Name of your system” and click on Ignore.

- Now, you can manage the VMware ESXi 5.0 update 1 or create virtual machines with the vSphere Client.

### 10 Gigabit Ethernet Driver Installation

VMwaer ESXi 5.0 update 1 has the built-in driver for onboard NIC. You don’t need to install the onboard NIC driver manually.

### VGA Driver Installation

VMwaer ESXi 5.0 update 1 has the built-in driver for onboard VGA. You don’t need to install the VGA driver manually.

# APPENDIX A: Integrated Hardware RAID CONFIGURATION

## Set RAID Controller in EFI Mode or Legacy Mode

- Please enter BIOS Setup during POST

Please select Boot Options.

- You would see below information.

EFI Optimized Boot    [Disabled]

- To enable EFI mode for the integrated hardware RAID, please enable the EFI Optimized Boot option. When you enable the option, the additional Use Legacy Video for EFI OS option will be displayed. Please also enable the Use Legacy Video for EFI OS option for EFI mode.

EFI Optimized Boot             [Enabled]

Use Legacy Video for EFI OS    [Enabled]

- To enable legacy mode for the integrated hardware RAID, please disable the both options.

EFI Optimized Boot             [Disabled]

Use Legacy Video for EFI OS    [Disabled]

- Save the setting and exit from BIOS Setup.

## Entering RAID BIOS Utility (Legacy Mode)

Please press CTRL-G when you see the RAID BIOS during POST. After POST finished, the Adapter Selection page will show on the screen. Please click on Start to launch the configuration menu.

## Entering RAID EFI Utility (EFI Mode)

- Please enter EFI shell during POST.

- In EFI Shell, please type in drivers command to find out EFI SAS Driver number.

This SAS driver number is 192. The number 192 could be different, depending on the result of the EFI SAS driver number checking

- Type dh –d <SAS Driver number> command to find out SAS controller number.

This SAS controller number is 193. The number 193 could be different, depending on result of the EFI SAS controller number checking.

- Please type drvcfg –s <SAS Driver number> <SAS Controller number> command to start EFI RAID BIOS Console

- You will see below options.

Press 1 for EFI WebBIOS

2 for EFI CLI

or any other key to return:

- Please select 1 for EFI WebBIOS.

- Please click on Start to launch the configuration menu.

## Loading Factory Default Setting

- In the left panel, please select Controller Properties. The current adapter settings appear. Please click on Next to next page of the properties.

- Click on Next to next page of the properties.

- Change the setting of Set Factory Defaults from No to Yes and then click on Submit.

- Press Home button

- Please select Exit in left panel

- Press Ctrl + Alt + Del to reboot the server.

## Creating a RAID Volume

- Launch the configuration menu.

- Select Configuration Wizard in left panel

- Select New Configuration and click on Next.

- Select Manual Configuration and click on Next.

- Hold on the Ctrl key and select the drives that you want to add into the array. After selecting the drives, please click on Add to Array.

- Click on Accept DG and then click on Next.

- Select the array you just created, click on Add to SPAN and then Next.

- Select the RAID Level you want to use, create the logical volume by specify the size at Select Size and click on Accept to create the logical volume.

- Click on Next after you creating the logical volume.

- Click on Accept and Yes to save the configuration.

## Initializing a RAID Volume

- After you click on Accept and Yes to save the configuration for the new created logical volume, the new logical volume will be automatically initialized.

- You would see the logical drive is listed as optimal status.

- Click on Home to go back to the configuration menu.

## Assigning a Hot Spare Drive

- In Physical Drives view, please select a free disk marked as UNCONF GOOD.

- Select Make Global HSP or Make Dedicated HSP options and then click on Go.

- Click on Home back to the configuration menu. You would see the disk marked as Hot Spare in Physical Drives view.

Please select Exit, click on Yes and press Ctrl + Alt + Del to reboot the system. Now you can reboot the system and install the operating system.

# APPENDIX B: Intel onboard SAS/SATA RSTe RAID CONFIGURATION

## Enabling Intel Onboard SAS/SATA RSTe RAID

- Enter BIOS Setup by Press F2 during POST

- Load default BIOS settings by press F9.

- In BIOS Main Page, change Quiet Boot from Enabled to Disabled.

- Select Advanced.

- Select Mass Storage Controller Configuration

- You might see below information:

SAS/SATA Capable Controller       [INTEL(R) RSTe]

- Make sure the setting of SAS/SATA Capable Controller is Intel (R) RSTe.

- Save the setting and exit from BIOS Setup

## Entering Intel onboard SAS/SATA RSTe RAID BIOS Utility

Please press CTRL-I when you see the RAID BIOS during POST.

## Loading Factory Default Setting

The Intel onboard SAS/SATA RSTe RAID BIOS utility does not provide the function to load factory default setting.

## Creating a RAID Volume

- Select Create RAID Volume.

- The CREATE VOLUME MENU displayed.

- Type in the name of RAID volume.

- Select RAID level.

- Select desired HDD to create the RAID.

- Select Strip Size.

- Select Capacity.

- Select Create Volume.

- Press Y when “Are you sure you want to create the volume? (Y/N):” displayed.

- Now the RAID volume is created, you can press ESC and select Exit to exit.

## Initializing a RAID Volume

During Intel onboard SAS/SATA RSTe RAID volume creation process, the Intel onboard SAS/SATA RSTe RAID volume will be automatically initiated once the onboard SAS/SATA RSTe RAID volume has been created.

## Assigning a Hot Spare Drive

The Intel onboard SAS RAID BIOS utility does not provide the function to create hot spare drive. Please create the hot spare drive with the Intel onboard SAS/SATA RSTe RAID utility in operating system.

# APPENDIX C: Intel onboard SAS/SATA ESRTII RAID CONFIGURATION

## Enabling Intel Onboard SAS/SATA ESRTII RAID

- Enter BIOS Setup by Press F2 during POST

- Load default BIOS settings by press F9.

- In BIOS Main Page, change Quiet Boot from Enabled to Disabled.

- Select Advanced.

- Select Mass Storage Controller Configuration

- You might see below information:

SAS/SATA Capable Controller       [INTEL(R) RSTe]

- Make sure the setting of SAS/SATA Capable Controller is INTEL ESRT2 (LSI*).

- Save the setting and exit from BIOS Setup

## Entering Intel onboard SAS/SATA ESRTII RAID BIOS Utility

Please press CTRL-E when you see the RAID BIOS during POST.

## Loading Factory Default Setting

- Select Objects from Management menu.

- Select Adapter from Objects. The selectable adapter will be listed.

- Press Enter on the adapter and the adapter setting will be shown on the screen. You can change the setting from this menu.

- Select Factory Default and Yes to load the default settings.

- Exit the configuration utility and press Ctrl + Alt + Del to reboot the server.

## Creating a RAID Volume

- Select Configuration from Management Menu.

- Select New Configuration from the Configuration menu and select Yes to continue. An array selection window displays the devices connected to the current controller.

- Press the arrow keys to choose specific physical drives and press SPACE key to associate the selected drive with the current array. The indicator for selected drive change from READY to ONLINE

- After adding 2 drives to current array, press Enter to finish creating current array.

- Press Enter again to select array to configure.

- Press SPACE key to select the array and press F10 to configure the logical drive.

- The default RAID level for 2 disk drives is RAID1. Just select Accept to use the default setting and press Enter to return to the ARRAY SELECTION MENU.

- Press Enter to end the array configuration.

- Select Yes to Save Configuration and press any key to return to the Configure menu.

## Initializing a RAID Volume

- Press Esc to return to the Management Menu.

- Select Initialize from Management menu. All logical drives should be listed under Logical Drives.

- Press SPACE key to select drives for initialization. The selected drive will be shown in yellow.

- After selecting the drives, press F10 and select YES to start the initialization process.

- When initialization is complete, press any Esc to continue.

- Press Esc again to return to the Management Menu.

## Assigning a Hot Spare Drive

- Select Objects from Management menu.

- Select Physical Drive from Objects. All of the drives will be listed.

- Select a drive marked as READY and press Enter.

- Select Make Hot Spare and press Enter.

- Select Yes then you will see the HDD is changed from READY to HOTSP.

- Press Esc to return to the Management Menu.

## Saving and Exiting Intel Onboard SAS/SATA ESRTII RAID Configuration Utility

- When RAID configuration, initialization and assigning hot spare are completed, press Esc in the Management Menu and select Yes to exit the Software RAID Configuration Utility.

- Press Ctrl + Alt + Del to reboot the server.

- Now you can start to install OS.